## Slide 1: Ultrasound mechanical ablation of ovary walls

## Slide 2: Requirements & constrictions
Induce acoustic cavitation at a depth of 4 cm
Cause a damage of size ~4mm X 4mm X 4mm

## Slide 3: Option 1: mechanical ablation (Histotripsy)
Advantages:
No thermal (diffusive) effect
Can be assisted by microbubbles
Disadvantages:
Requires high pressure
Semi-real-time monitoring

## Slide 4: Simulation

## Slide 5: Frequency comparison
Frequency | 0.2MHz | 0.5MHz | 1MHz | 5MHz | 10MHz
Lateral resolution [mm] | 6 | 2 | 3 |  | 
Axial resolution [mm] | 30 | 22 | 23 |  | 
Max pressure [Pa] | 200kPa | 500 kPa | 500 kPa |  |